Specifications text

Article number

203996

Type

DL2105

Short description

RS-232 Line Driver Extender System, 3650m Distance

Main Features

EIA RS-232 standard inputs and outputs

Data speeds of 64 kBaud

Built-in surge suppression

Balanced communication output

Video/data/power&communication run in the same cable

Screw less terminal blocks allow easy wire connection

For distances up to 3650m

Other Features (Specifications)

| Model | module |
| --- | --- |
| Type of unit | transmitter / receiver |
| Range | 3650 m |
| Signal transmission | data |
| Protection rating | n/a |
| Operation mode | active |
| Manufacturer order number | DL2105 |
| Brand | Nitek |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services