Specifications text

Article number

74321

Type

EX1120

Short description

Active TP Video Transmission System, 24VAC

Main Features

Video Signal Twisted Pair Transmitter&Receiver Set

High Resolution Colour or Monochrome Video

Bandwidth: 1Hz to 10MHz

Unshielded CAT2 (min) Cable Required

From 304m to 4800m (Monochrome)

From 304m to 2200m (Monochrome)

Cable Length Adjustment by Dip-switches

Ground-loop and Power Surge Protection

Protection from Static and other Interferences

Video, AC, Telephone, Computer Signals via 1 Cable

BNC Plug / Terminal Block Connectors

Other Features (Specifications)

| Design | Module |
| --- | --- |
| Mode | Active |
| Manufacturer order number | EX1120 |
| Reach | 4,800 km |
| Signalling | Data, Video, Voltage |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services