Specifications text

Article number

203972

Type

PV824

Short description

Video-, Power-, Data-Receiver, 8 Channels, passive, RJ-45, BNC Output

Main Features

Video transmission via ordinary twisted pair cable

Video, power and data over category cable

High immunity for noise and interference

LED status indicators for power and video

Integrated 8 channel video receiver

Integrated 28VAC power supply

Other Features (Specifications)

| Ports | 8 |
| --- | --- |
| Model | housing |
| Operation mode | passive |
| Operation mode | passive |
| Type of unit | receiver |
| Signal transmission | data, video, voltage |
| 19" rack mount | no |
| Protection rating | n/a |
| Manufacturer order number | PV824 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services