Specifications text

Article number

203970

Type

PVX164

Short description

Video, Power, Data Distributor, 16 Channels, RJ45, 19"

Main Features

High quality video via ordinary twisted pair cable

Video, power and data over a single category cable

Built-in cable management

High immunity to noise and interference

LEDs to indicate video, power and data detection

RJ45 jacks for quick and secure connections

1 U/19" rack mount

Other Features (Specifications)

| Model | 19" Rack |
| --- | --- |
| Type of unit | distributor |
| Signal transmission | data, video, voltage |
| Protection rating | n/a |
| Manufacturer order number | PVX164 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services