Specifications text

Article number

74316

Type

TR515X4

Short description

Active 4-chann. Video TP Receiver Card, BNC-RJ45, 500m 500m

Main Features

4-channel Video and Data (up-to-coax) Card

Bandwidth: DC to 10MHz

Unshielded CAT2 (min) Cable Required

Up-to 500m with Passive Transmitters (UTP Cable)

Cable Length Adjustment by Dip-switches

Ground-loop and Power Surge Protection

Protection from Static and other Interferences

Video, AC, Telephone, Computer Signals via 1 Cable

LED Indication for Video Loss Control

BNC Jacks / RJ45, Terminal Block Connectors

Option: Card Cage RK400

Other Features (Specifications)

| Model | board |
| --- | --- |
| Type of unit | receiver |
| Range | 500 m |
| Signal transmission | data, video, voltage |
| Protection rating | n/a |
| Operation mode | active |
| Manufacturer order number | TR515X4 |
| Brand | Nitek |

Additional Productinformation

Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.

Related products

Recommendations

Services