Specifications text

Article number

74308

Type

TT560

Short description

Active Video Twisted Pair Transmitter, 2200m, Compos. Input, TP Output, 12-24V

Main Features

Video Signal Twisted Pair Transmitter

Bandwidth: DC to 10MHz

Unshielded CAT2 (min) Cable Required

Up-to 2200m (at Active Receiver and UTP Cable)

Cable Length Adjustment by Dip-switches

Ground-loop and Power Surge Protection

Protection from Static and other Interferences

Video, AC, Telephone, Computer Signals via 1 Cable

BNC Plug / Terminal Block Connectors

Other Features (Specifications)

| Model | mini module |
| --- | --- |
| Type of unit | transmitter |
| Range | 2200 m |
| Signal transmission | video |
| Operation mode | active |
| Manufacturer order number | TT560 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services