Specifications text

Article number

240902

Type

ExCam miniTube IP T08-VA1.2.K1.BOR-N.H-005.N-P

Short description

Network camera in stainless steel housing in accordance with RL 2014/34/EU (ATEX) and IECEx, 1080p, 4x optical zoom, IP68

Main Features

CMOS sensor 1/2.8" with FullHD 1920x1080p

Motorized varifocal lens with 4x optical zoom

Day/night functionality

Stainless steel AISI 316L

Certified for hazardous areas according to ATEX, IECEx, INMETRO, EAC-Ex

Protection class IP66/68 (IEC 60529)

Multi-streaming and video compression H.265

Made in Germany

Other Features (Specifications)

| Autopan | No |
| --- | --- |
| Area departure | No |
| Twilight switch | No |
| Housing material | Stainless steel |
| Heating | Yes |
| Fan | No |
| Manufacturer order number | 22070526 |
| Positionable | No |
| Power over Ethernet | IEEE 802.3af |
| Windshield heating | No |
| Protection | IP66/68 |
| Series | ExCam |
| Control Interfaces | Ethernet |
| Power supply | Poe |
| Temperature Range (Operating) | -30°C ~ +50°C |
| Vandalism-resistant | No |
| Certifications | ATEX,IECEx,PESO,EACex,INMETRO,MASC,UKEX |
| Brand | SAMCON |

Additional Productinformation

Related products

| ExConnection Rail T04.5-D.BOR-4PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| --- | --- |
| ExConnection Rail T04.6-D.BOR-8PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| ExTB-3 Klemmkasten für ExCam Serie | Model: T12-M20-M20-M20 |
| Mastadapter PMB-VA1.x + VA.2.x | Compatible with all WMB wall brackets of the ExCam Series with the model codes T08-VA1.x, T08-VA2x and T03 |
| SKD02-T Kabel Kit 30 m | 30 meter SKD02-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |
| SKDP03-T Kabel Kit 30 m | 30 meter SKDP03-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |
| Wandausleger WMB-VA0.1 / VA1.2 (Edelstahl) | Compatible with housing sizes VA0.x and VA1.2 |

Recommendations

Services