Specifications text

Article number

240907

Type

ExCam IPQ1785 T08-VA2.3.K3.BOR2-N.H-005.N-P

Short description

camera in stainless steel housing in accordance with RL 2014/34/EU (ATEX) and IECEx, 1080p, 32x optical zoom, IP68, -10°C/+60°C

Main Features

1/2.8" CMOS sensor with 2 MP (1920 x 1080)

Powerful motorized zoom autofocus lens (32x optical)

AISI 316L stainless steel

Certified for hazardous areas according to ATEX, IECEx, INMETRO, EAC-Ex

Optional powerful wiper solution with torque control

Lightfinder and WDR

Protection class IP66/68 (IEC 60529)

H.265 video compression

Made in Germany

Other Features (Specifications)

| Autopan | No |
| --- | --- |
| Area departure | No |
| Twilight switch | No |
| Housing material | Stainless steel |
| Heating | Yes |
| Fan | No |
| Manufacturer order number | 22070234 |
| Positionable | No |
| Power over Ethernet | IEEE 802.3af, IEEE 802.3at |
| Windshield heating | No |
| Protection | IP66/68 |
| Series | ExCam |
| Control Interfaces | Ethernet |
| Power supply | Poe |
| Temperature Range (Operating) | -30°C ~ +60°C |
| Vandalism-resistant | No |
| Certifications | ATEX,IECEx,EACex,INMETRO,MASC,UKEX |
| Brand | SAMCON |

Additional Productinformation

Related products

| ExConnection Rail T04.5-D.BOR-4PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| --- | --- |
| ExConnection Rail T04.6-D.BOR-8PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| ExTB-3 Klemmkasten für ExCam Serie | Model: T12-M20-M20-M20 |
| Mastadapter PMB-VA1.x + VA.2.x | Compatible with all WMB wall brackets of the ExCam Series with the model codes T08-VA1.x, T08-VA2x and T03 |
| SKD02-T Kabel Kit 30 m | 30 meter SKD02-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |
| SKDP03-T Kabel Kit 30 m | 30 meter SKDP03-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |

Recommendations

Services