Specifications text

Article number

240909

Type

ExCam IPQ6075 T08-TNXCD-N.H-005.N-P

Short description

Network PTZ dome camera in stainless steel housing accordance with RL 2014/34/EU (ATEX) and IECEx, 1080p, 40x optical zoom, 0°C/60°C

Main Features

1/2.8" CMOS sensor with 2 MP (1920 x 1080)

Powerful motorized zoom autofocus lens (40x optical)

AISI 316L stainless steel

Certified for hazardous areas according to ATEX, IECEx, INMETRO, EAC-Ex

Scratch and heat-resistant LEXAN dome for perfect optical quality

Lightfinder and WDR

Automatic temperature control

Fast pan and tilt drive (0.05 - 450°/s)

Protection class IP66/68 (IEC 60529)

Made in Germany

Other Features (Specifications)

| Autopan | No |
| --- | --- |
| Area departure | No |
| Twilight switch | No |
| Housing material | Stainless steel |
| Heating | Yes |
| Fan | No |
| Manufacturer order number | 23040117 |
| Positionable | No |
| Power over Ethernet | IEEE 802.3at |
| Windshield heating | No |
| Protection | IP66/68 |
| Series | ExCam |
| Control Interfaces | Ethernet |
| Power supply | Poe |
| Temperature Range (Operating) | 0°C ~ +60°C |
| Vandalism-resistant | No |
| Certifications | ATEX,EACex,IECEx,INMETRO,MASC,UKEX |
| Brand | SAMCON |

Additional Productinformation

Related products

| Deckenmontageadapter CMB-TNXCD | Adapter for devices from the T08-VA4 and TNXCD series, also suitable for horizontal wall mounting or Pole mounting of the ExCam IPP3827 |
| --- | --- |
| ExConnection Rail T04.5-D.BOR-4PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| ExConnection Rail T04.6-D.BOR-8PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| ExTB-3 Klemmkasten für ExCam Serie | Model: T12-M20-M20-M20 |
| Mastadapter PMB | Mast adapter for TNXCD & T08-VA1.x/2.x wall bracke suitable for pole diameters between 100 and 150mm |
| SKD02-T Kabel Kit 30 m | 30 meter SKD02-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |
| SKDP03-T Kabel Kit 30 m | 30 meter SKDP03-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |
| Wandausleger WMB-TNXCD | Wall bracket for T08-TNXCD series devices Suitable for suspended mounting |

Recommendations

Services