Specifications text

Article number

240912

Type

SKD02-T Kabel Kit 30 m

Short description

30 meter SKD02-T system cable Digital special cable with Ex approval according to DIN EN 60079-14

Main Features

30 m length

Meets the requirements for cables in potentially explosive atmospheres according to IEC/EN 60079-14 chapter 9.3

Complies with the provisions for cables in potentially explosive atmospheres to prevent zone entrainment in accordance with IEC/EN 60079-14

Tested for -60°C to +80°C fixed installation

Resistant to sunlight in accordance with UL 2556 para. 4.2.8.5 (720 h)

Flame retardant according to IEC 60332-1-2

Oil-resistant in accordance with IEC 60811-2-1 (IRM 902, 4h at 70°C)

Mud-resistant in accordance with NEK 606

IEEE 802.3at PoE+, max 30 W per channel, max 95 m

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | 26030406 |
| Vibration sensor | No |
| Series | ExCam |
| Brand | SAMCON |

Additional Productinformation

Related products

Recommendations

Services