Specifications text

Article number

240937

Type

ExConnection Rail T04.6-D.BOR-8PoE++-1000Base

Short description

High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU

Main Features

8x PoE+ 10/100BaseT(X), IEEE 802.3at, max 30W per port

1x 1000BaseFX, 1x 1000Base-SX (Mulitmode 850nm, SFP/LC)

100 VAC - 240 VAC

720 W (max)

ATEX, IECEx, EAC-Ex certified

IP66 RATED

-40°C/+50°C

Other Features (Specifications)

| Type | Switch |
| --- | --- |
| Series | ExCam |
| Ports | 2x 1000Base-TX, 2x 1000Base-XX (SFP Slot) |
| Wattage per port | 60W |
| Gigabit | no |
| Local control | n/a |
| Output voltage | 24VDC |
| Cisco legacy | no |
| Resistive power discovery | yes |
| Remote control | no |
| 19" rack mount | no |
| PoE standard | PoE+ (IEEE802.3at) |
| Operating temperature | -30°C ~ +50°C |
| Certifications | ATEX, EACex, IECEx |
| Manufacturer order number | 27020914 |
| Brand | SAMCON |

Additional Productinformation

Related products

Recommendations

Services