Specifications text

Article number

74304

Type

VB37M

Short description

Passive Twisted Pair Transmitter or Receiver, composite BNC Plug In/Output

Main Features

Mount Direct to Camera or Video Source/Receiver

Video and Data (up-to-coax) Transmission

Bandwidth: DC to 10MHz

Unshielded CAT2 (min) Cable Required

Up-to 350m to Passive Receiver (unshielded cable)

Up-to 1500m to Active Receiver (TR560)

No Adjustment Necessary

Immunity to Noise and Interference

BNC Plug / Terminal Block Connectors

Other Features (Specifications)

| Design | Mini module |
| --- | --- |
| Mode | Passive |
| Manufacturer order number | VB37-M |
| Reach | 225 km |
| Signalling | Video |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services