Specifications text

Article number

74305

Type

VB39M

Short description

Passive Twisted Pair Transm. or Receiver Comp., BNC Plug In/Out, Surge Protection

Main Features

Mount Direct to Camera or Video Source/Receiver

Video and Data (up-to-coax) Transmission

Bandwidth: DC to 10MHz

Unshielded CAT2 (min) Cable Required

Up-to 350m to Passive Receiver (unshielded cable)

Up-to 1500m to Active Receiver (TR560)

No Adjustment Necessary

Immunity to Noise and Interference

Built-in Surge Protection

BNC Plug / Terminal Block Connectors

Other Features (Specifications)

| Model | mini module |
| --- | --- |
| Type of unit | transmitter / receiver |
| Range | 225 m |
| Signal transmission | video |
| Operation mode | passive |
| Manufacturer order number | VB39-M |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services