Specifications text

Article number

74315

Type

VB41X4

Short description

Passive 4-Channel Twisted Pair Transceiver Card, Video, Data, BNC-RJ45 In/Outputs

Main Features

4-channel Video and Data (up-to-coax) Card

Bandwidth: DC to 10MHz

Unshielded CAT2 (min) Cable Required

Up-to 350m at Passive Devices (unshielded cable)

No Adjustment Necessary

Immunity to Noise and Interference

Built-in Surge Protection

LED Indication for Video Loss Control

BNC Jack / Terminal Block Connectors

Other Features (Specifications)

| Model | board |
| --- | --- |
| Type of unit | transmitter / receiver |
| Range | 350 m |
| Signal transmission | data, video |
| Protection rating | n/a |
| Operation mode | passive |
| Manufacturer order number | VB41X4 |
| Brand | Nitek |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services