Specifications text

Article number

203983

Type

VH1651

Short description

Twisted Pair Transceiver, Video, Active, 16 Channels, Screw Terminal, 12-24VAC/VDC

Main Features

Active 16 channel video hub

Transmission over ordinary twisted pair

Distance: 450m

LED status indicators

Immunity to noise and interference

19" rack mount

Other Features (Specifications)

| Model | module |
| --- | --- |
| Operation mode | active |
| Operation mode | active |
| Type of unit | receiver |
| Range | 450 m |
| Signal transmission | video |
| Manufacturer order number | VH1651 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services