Specifications text

Article number

203989

Type

VH3256M

Short description

Twisted Pair Receiver, Video, Active, 32 Channels, 19", RJ45, 12-24VAC/VDC

Main Features

Active 32 channel video hub

Transmission over ordinary twisted pair

Distance max. 900m with passive transmitters

Distance max. 1800m with active transmitters

LED status indicators

Immunity to noise and interference

Twisted pair connection: RJ45 jacks

Temperatur range -20°C ~ +65°C

Other Features (Specifications)

| Model | module |
| --- | --- |
| Operation mode | active |
| Operation mode | active |
| Type of unit | receiver |
| Range | 1800 m |
| Signal transmission | video |
| Manufacturer order number | VH3256M |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services