Specifications text

Article number

74311

Type

VH456

Short description

Active 4-channel Video TP Receiver, BNC Outputs, 24VAC

Main Features

4-channel Video Signal Twisted Pair Receiver

Bandwidth: DC to 10MHz

Unshielded CAT2 (min) Cable Required

Up-to 1000m (at Passive Transmitter and UTP Cable)

Up-to 2200m (Active Transmitter TT560)

Adjustment of Gain and Frequency Compensation

Cable Length Adjustment by Dip-switches

Ground-loop and Power Surge Protection

Protection from Static and other Interferences

Video, AC, Telephone, Computer Signals via 1 Cable

LED Indication for Gain and Video Loss Control

BNC Jacks / Terminal Block Connectors

Other Features (Specifications)

| Design | Module |
| --- | --- |
| Mode | Active |
| Device type | Receiver |
| Manufacturer order number | VH4-56 |
| Reach | 2,200 km |
| Protection | no information |
| Signalling | Video |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services