Specifications text

Article number

242010

Type

ExTB-2 Klemmkasten für ExCam Serie

Short description

Modell T12-M20-BP-M20

Main Features

ATEX, IECEx, EAC-Ex certified

IP66 RATED

24VDC

Can also be used at arctic temperatures (-60°C)

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | 26010300 |
| Vibration sensor | No |
| Series | ExCam |
| Certifications | ATEX,EACex,IECEx,MASC |
| Brand | SAMCON |

Additional Productinformation

Related products

Recommendations

Services