Specifications text

Article number

75802

Type

VZT-21B/TB

Short description

Passive Twisted Pair Transmitter or Receiver, Compos. In/Output, BNC-T.Block

Main Features

Transmission via CAT 5e(6) UTP cable

Up to 400m colour / 600m b&w (at unshielded cable)

Approx. 200m colour / 300m b&w (at shielded cable)

No adjustment necessary

Connectors: BNC plug / 2 pin terminal block

Other Features (Specifications)

| Design | Mini module |
| --- | --- |
| Mode | Passive |
| Manufacturer order number | 75802 |
| Reach | 400 km |
| Protection | no information |
| Signalling | Video |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services