Specifications text

Article number

204002

Type

PS115

Short description

Rack Mounted Power Supply Class II, 28VAC - 10A

Main Features

Power is provided in a closed, self-contained system

PS115 units mount in a 19" rack

Easy to install and configure

Compatible with structured cabling standards

Video/data & power can be run in the same Cat.5 cable

Other Features (Specifications)

| Output voltage | 28VAC / 50Hz |
| --- | --- |
| Certifications | UL |
| Manufacturer order number | PS115 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services