Specifications text

Article number

74319

Type

CAMPTR1

Short description

1-channel Coaxial Cable In-line Surge Protector

Main Features

1-Channel Video Coax Surge Protection

For Camera or Head-end Applications

Bandwidth: DC to 20MHz

Clamping Voltage: 2.8V

No Power Required

Easy to Install

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | CAMPTR1 |
| Vibration sensor | No |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services