Specifications text

Article number

74334

Type

CX452

Short description

Modular Card Cage for 19" Rack Cabinet, 4 cards can be used max.4 Karten verwendbar

Main Features

4 Cards can be used in any of the 5 slots

Additional cards can be added for future expansion

Telco connector

TIA/EIA 568B compatible

Other Features (Specifications)

| Manufacturer order number | CX452 |
| --- | --- |
| Brand | Nitek |

Additional Productinformation

Related products

| FAN64 | Cooling Fan for use with POE4 Cards |
| --- | --- |

Recommendations

Services