Specifications text

Article number

240083

Type

INP-75A0033MIB

Short description

Network Dome, PTZ, 33x, 2952x1944, Day & Night, WDR, AI Alarm, Audio, 24VAC/12VDC, PoE,IP66

Main Features

1/2.7" CMOS sensor, maximum resolution 5 MP/30fps

AI analysis functions including object classification

WDR 120dB, 3D-DNR Noise Reduction

Motorized autofocus zoom lens 33x 4.3-142mm

Smart Codec H.265/H.264, multi-streaming

Browser independent (IE, Edge, Safari, Firefox, Chrome)

Supports ONVIF profiles S/T/G/M

Local storage via Micro SD card

Audio input and output, NDAA conform

Power supply 12VDC, or PoE IEEE 802.3at

IR LED illumination, IP66

Wall bracket included

Other Features (Specifications)

| EAN/GTIN | 4260229840665 |
| --- | --- |
| Audio support | Yes |
| Motion detector | Yes |
| Digital Noise Reduction (DNR) | Yes |
| Multicast | Yes |
| Backlight compensation | Yes |
| Low Speed Shutter | Yes |
| Alarm inputs | 1 |
| Resolution standard | 5 MP |
| Recording sensor | CMOS, OmniVision OS05A20 |
| Lighting | Infrared |
| Image resolution max. | 2592x1944 |
| Image transfer rate max. | 30 fps |
| Horizontal angle of view | 55 - 2,3° |
| Focal length | 4,3 - 142 mm |
| Chip size | 1/2,7" |
| Turning range | 360 |
| Dimensions (WxHxD) (extended) | 206,4×351,8mm |
| Alarm processing | recording internal storage (SD card),E-Mail,FTP,Cloud Upload |
| Audio | 2 Way Audio |
| Resolution (extended) | 2592x1944 (4:3),2592x1520 (16:9),2048x1536 (4:3),2304x1296 (16:9),1920x1080 (16:9),1280x960 (4:3),1280x720 (16:9),640x480 (4:3),320x240 (4:3) |
| Illumination range | Approx 150m |
| Remark | The face detection and license plate recognition functions are only available with an inserted SD card or in conjunction with a recorder from the eneo IN series.,To guarantee you an optimum user experience,we recommend that you only use components of the |
| Watch (62px/m) | 41.8 m |
| Picture size | 16:9, 4:3 |
| Aperture Range (F) | F1.6 |
| Browser | Edge, Firefox, Google Chrome, Safari |
| Data stream types | Triple-Stream(Main/Sub/Mobile) |
| Detect (125px/m) | 20 m |
| ESC | 1/5 ~ 1/20.000sec. |
| External connections | RJ-45,Audio input,12VDC input (DC plug),Alarm in/output,micro SD card slot 256 GB,connection cable approx.45cm |
| Flickerless function | Yes |
| Identify (250px/m) | 9.3 m |
| Camera shape | PTZ |
| Scope of delivery | manual,wall bracket,bag of screws |
| Manual Electric Shutter (MES) | 1-5~1-20,000sec. |
| Menu languages | English, French, German, Italian, Japanese, Portuguese, Russian, Spanish, Turkish |
| Password | Administrator and User |
| Privacy Zone | Areas-ON/OFF switchable |
| SDK | upon request |
| Day/night mode | Automatic,Night,Time |
| Text overlay | Switchable on/off |
| Tours | 1 selectable tour |
| Perceiving (25px/m) | 106.5 m |
| White balance | Automatic,Manual |
| Color (Housing) | RAL9003,Pantone P 179-1 |
| Housing type | Outside |
| Housing material | Aluminium |
| Speed (manual control) | 200 °/sec |
| Speed (Target Approach) | 200 °/sec |
| Internal memory | 256GB, microSDHC card, microSDXC card |
| Camera Type | Face, People counting, Retail Intelligence |
| Photosensitivity | 0,003 Lux bei F1,6 |
| MOD (Minimum Object Distance) | 1.5 m |
| Mounting type | Wall |
| Network Protocols | DDNS, DHCP, DNA, FTP, HTTP, HTTPS, IPv4, IPv6, NTP, PPPoE, RTP, RTSP, SMTP, TCP-IP, UDP, UPnP |
| Lens Type | Auto Focus Zoom |
| ONVIF | ONVIF Profile G, ONVIF Profile M, ONVIF Profile S, ONVIF Profile T |
| Manufacturer order number | 240083 |
| Power over Ethernet | IEEE 802.3at |
| Protection | IP66 |
| Series | eneo IN-Serie |
| Control Interfaces | Ethernet |
| Power supply | 12VDC, PoE+ |
| System | True Day&Night |
| Day/night switching | Switchable IR Filter (ICR) |
| Temperature Range (Operating) | -30°C ~ +60°C,@ Luftfeuchtigkeit 95% oder weniger (nicht kondensierend) |
| Video Compression | H.264, H.264+, H.265, H.265+, M-JPEG |
| Wide Dynamic Range (WDR) | WDR 120dB |
| Zoomfactor (optical) | 33 |
| Brand | eneo |

Additional Productinformation

Related products

| CM-22 | Corner mounting adapter for wall bracket WB-24 and PTZ dome camera INP-75A0033MIA |
| --- | --- |
| DOME-CH7 | Ceiling mount IN-Series Length approx. 294mm |
| eneo INsight Installation Tool | Supports adjustments for cameras with AI features for IN-series |
| eneo INsight mobile | Mobile App for recorder IN- and MN-series |
| eneo Site Manager | Management Software for eneo IP products |
| KBD-3NET | Network keyboard with joystick, supports ONVIF protocol, RJ45, 12VDC |
| PM-21 | Pole mounting adapter for camera connection box AK-20 and AK-21 |

Recommendations

| CM-22 | Corner mounting adapter for wall bracket WB-24 and PTZ dome camera INP-75A0033MIA |
| --- | --- |
| eneo INsight mobile | Mobile App for recorder IN- and MN-series |
| jetpower-PSU-M | Universal PSU 12V/6.67A 2,5 ID |
| PM-21 | Pole mounting adapter for camera connection box AK-20 and AK-21 |

Services

| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| --- | --- |
| LACKIERUNG PTZ oder Panoramakamera | Extra charge for special paint PTZ dome or panoramic camera in RAL color |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |