Specifications text

Article number

245313

Type

Jetrics WDR-480-48 Industrial Power Supply

Short description

Input 230VAC, Output 48VDC, for DIN RAIL TS-35/7.5 or 15 Operating temperature from -30 °C to +70 °C

Main Features

DIN rail power supply for industrial applications with 480 W

Input voltage range: 180-550 V AC, 3-phase

Output: 48 V DC / 10 A

Analogue interfaces: Relay output for DC OK

Efficiency up to 91%

Fanless design, cooling by free convection

Operating temperature from -30 °C to +70 °C

Protection against overload, overvoltage, overtemperature, short circuit

EMC standards: EN 55032

Safety standards: UL 61010-1, UL 61010-2-201, EN 61558-1,

EN 61558-2-16, CE, UKCA mark

Other Features (Specifications)

| Other |  |
| --- | --- |
| Manufacturer order number | 245313 |
| Brand | Jetrics |

Additional Productinformation

Related products

Recommendations

Services