Specifications text

Article number

246006

Type

Solvido IQbox-maxis-C

Short description

camera connection box for video security with power plug FI/LS, 500x400x210mm

Main Features

Optimised for outdoor use

UV-stabilised polycarbonate, corrosion-resistant

Colour: RAL7035

Protection rating (EN 60529): IP66

Impact resistance (EN 62262): IK10

Halogen-free (DIN/VDE 0472, Part 815): Yes

Door with PUR seal, hinge on long side

2-point locking with double-bit latch

Optional swivel lever for PHZ

Steel mounting plate

Pre-wired, for flexible, modular expansion

With tamper contact, incl. connection terminal

Other Features (Specifications)

| Other |  |
| --- | --- |
| Color (Housing) | RAL7035 |
| Housing material | Polycarbonate |
| Installation Location | Outdoor |
| Mounting type | Mast mounting, Wall |
| Manufacturer order number | 246006 |
| Protection | IP66 |
| Series | IQbox-maxi-C |
| Power supply | 230VAC |
| Temperature Range (Operating) | -40°C ~ +80°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

| jetrics MDR-100-12 | Power Supply 12V / 7,5A for DIN rail mounting TS-35 |
| --- | --- |
| jetrics MDR-100-48 | Power Supply 48V / 2A |
| jetrics MDR-20-12 | Power Supply 12VDC / 1,67A for DIN rail mounting TS-35 |
| jetrics MDR-60-12 | Power Supply 12VDC / 5A for DIN rail mounting TS-35 |
| jetrics MDR-60-48 | Power Supply 48VDC / 1,25A for DIN rail mounting TS-35 |
| jetrics NDR-120-48 DIN Rail | Power Supply, 230VAC / 48VDC, max. 120W, for DIN rail mounting |
| jetrics NDR-240-48 DIN RAIL | Power Supply, 230VAC / 48VDC, max. 240W, for DIN rail mounting |
| Solvido 50W Semiconductor power supply | with thermostat, for DIN rail mounting |
| Solvido SOL-WST-MB-40 | Pole Mount 40cm, set (2pcs) for SOL-IQbox-maxi |
| Solvido SOL-WST-SSK-ES-30 |  |
| Solvido SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| Solvido SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services