Specifications text

Article number

246008

Type

Solvido IQbox-Strong-C

Short description

Camera junction box for video surveillance, stainless steel, 400x300x200mm

Main Features

Optimised for outdoor use

Brushed 1.4301 (AISI 304L) stainless steel housing

Protection rating (EN 60529): IP66

Impact resistance (EN 62262): IK10

Door with hinge on the long side

2-point locking with double-bit latch

Optional swivel lever for PHZ

Steel mounting plate

Pre-wired, for flexible, modular expansion

With tamper contact, incl. connection terminal

Includes 1-pole 6A circuit breaker

Wall or pole mounting

Other Features (Specifications)

| Other |  |
| --- | --- |
| Color (Housing) | Silver |
| Housing material | AISI 304, Stainless steel |
| Installation Location | Outdoor |
| Mounting type | Mast mounting, Wall |
| Manufacturer order number | 246008 |
| Protection | IP66 |
| Series | IQbox-Edelstahl-C |
| Power supply | 230VAC |
| Temperature Range (Operating) | -30°C ~ +80°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

| jetrics MDR-100-12 | Power Supply 12V / 7,5A for DIN rail mounting TS-35 |
| --- | --- |
| jetrics MDR-100-48 | Power Supply 48V / 2A |
| jetrics MDR-20-12 | Power Supply 12VDC / 1,67A for DIN rail mounting TS-35 |
| jetrics MDR-60-12 | Power Supply 12VDC / 5A for DIN rail mounting TS-35 |
| jetrics MDR-60-48 | Power Supply 48VDC / 1,25A for DIN rail mounting TS-35 |
| jetrics NDR-120-48 DIN Rail | Power Supply, 230VAC / 48VDC, max. 120W, for DIN rail mounting |
| jetrics NDR-240-48 DIN RAIL | Power Supply, 230VAC / 48VDC, max. 240W, for DIN rail mounting |
| Solvido Montage |  |
| Solvido Montage |  |

Recommendations

Services