Specifications text

Article number

246255

Type

Hanwha Vision XNF-A9014RV

Short description

Main Features

Other Features (Specifications)

| Other |  |
| --- | --- |
| Heating | No |
| Audio support | Yes |
| Motion detector | Yes |
| Digital Noise Reduction (DNR) | Yes |
| Backlight compensation | Yes |
| Low Speed Shutter | Yes |
| Vandalism-resistant | Yes |
| Wiper | No |
| Analysis | Face, License plate recognition |
| Audio compression | AAC-LC, G.711, G.726, OPUS |
| Resolution standard | 12 MP |
| Recording sensor | CMOS |
| Lighting | Infrared, LED |
| Image resolution max. | 3584 x 2688 |
| Image transfer rate max. | 30 fps |
| Horizontal angle of view | 185° |
| Vertical angle of view | 185° |
| Focal length | 1,76 mm |
| Turning range | 360 ° |
| Ethernet interface | 100Base-T, 10Base-T |
| Color (Housing) | White |
| Color (dome) | clear |
| Housing type | Aluminium |
| Housing material | Aluminium |
| Internal memory | microSD card, microSDHC card, microSDXC card |
| Camera Type | Domecamera |
| Power consumption | 19.8 W |
| Photosensitivity | 0,02 Lux |
| Mounting type | Ceiling, Wall |
| Network Protocols | and others, HTTP, HTTPS, IPv4, IPv6, RTSP, TCP, TCP-IP |
| Lens Type | Fisheye, Prime lens |
| ONVIF | ONVIF Profile G, ONVIF Profile M, ONVIF Profile S, ONVIF Profile T |
| Manufacturer order number | XNF-A9014RV |
| Ports | RJ-45 |
| Power over Ethernet | IEEE 802.3af, IEEE 802.3at |
| Protection | IP66 |
| Control Interfaces | Ethernet |
| Power supply | 12VDC |
| System | True Day&Night |
| Day/night switching | Switchable IR Filter (ICR) |
| Temperature Range (Operating) | -40°C - 55°C |
| Video Compression | H.264, H.265, MJPEG |
| Wide Dynamic Range (WDR) | 120dB |
| Certifications | CE,FCC,UL,IK10,NEMA 4X |
| Brand | Hanwha Vision |

Related products

Recommendations

Services