Specifications text

Article number

218306

Type

ICB-72A0003M0A

Short description

1/2,8" Network Camera, 1920x1080, Day&Night, AF Zoom WDR, 3,2-9 mm, Infrared, IP67

Main Features

1/2,8"  Sony STARVIS CMOS

Resolution max. 1920x1080 (Full HD)

Optical 3x Auto Focus Zoom, 16x Digital

3,2~9 mm day&night zoom lens, IR cut filter

Integrated connection box with circuit board

Simple and tidy wiring

VerticalView 90°/270° mode only H.264, HTML5 Playback

DOL-WDR by triple scan images at 30/25fps

VCA Video Analytic, ONVIF Event Mapping

Cross Web Browsing (IE, Safari, Firefox, Chrome)

Responsive Web Design, Zero configuration

Triple Streaming: 2x H.264, 1x MJPEG

Other Features (Specifications)

| Manufacturer order number | 218306 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| eneo Site Manager | Management Software for eneo IP products |
| --- | --- |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |
| PM-42A | Pole mount adaptor for eneo Candid, Candid S, Candid M, WB1, AK-5, AK-4 |
| VerticalView Adaptor | For IP Candid Medium Series using the VerticalView mode Mode |

Recommendations

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| WDD064G1P0C | &nbsp; |

Services

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |