Specifications text

Article number

214558

Type

IEB-63M2812M0A

Short description

1/2.8" Network Camera, Day&Night, 2048x1536, Infrared 2.8-12 mm, 12VDC, PoE, IP67

Main Features

1/2.8" Sony STARVIS CMOS-Sensor

Megapixel varifocal lens, motorized,

2.8~12mm, True Day&Night

Resolution max. 2048x1536

Compression H.264/MJPEG, Web Casting

Cross Web-Browsing, ONVIF

VerticalView 90°/270° Mode, H.264 only

VCA Video Analytic

D-WDR (Digital Wide Dynamic Range)

Framerate increase on motion detection

OpenVPN Support

Other Features (Specifications)

| Manufacturer order number | 214558 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| eneo Site Manager | Management Software for eneo IP products |
| --- | --- |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |

Recommendations

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| WDD064G1P0C | &nbsp; |

Services

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |