Specifications text

Article number

213012

Type

IPB-72A0003M0A

Short description

1/3" Network Camera, 1920x1080, Day&Night, AF Zoom WDR, 3-9mm, Infrared, IP67

Main Features

1/3" 1/3" Panasonic CMOS Sensor

Resolution max. 1920x1080 (Full HD)

Optical 3x Auto Focus Zoom, 16x Digital

3~9 mm day&night zoom lens, IR cut filter

Cross Web Browsing (IE, Safari, Firefox, Chrome)

Responsive Web Design, Zero configuration

Triple Streaming: 2x H.264, 1x MJPEG

VerticalView 90°/270° mode only H.264, HTML5 Playback

Real time WDR (Wide Dynamic Range) 25/30fps

Slot for Micro SD card

ONVIF conformity, PoE IEEE802.af

Easy installation, IP67

Other Features (Specifications)

| Manufacturer order number | 213012 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| AK-4 | Camera junction box, for Candid Small ,Candid Medium, Series |
| --- | --- |
| AK-4 Wireless Kit | &nbsp; |
| ECB-1 | Medienkonverter, Innen, 1x RJ45, 1x SFP |
| eneo Site Manager | Management Software for eneo IP products |
| ENI-900P | &nbsp; |
| ENX-900P | &nbsp; |
| EPS-1008 | &nbsp; |
| EPS-1016 | &nbsp; |
| EVX-900B | Media Converter, indoor, Transmitter-Receiver, 1x RJ45, 1x BNC, 12V, up to 1000m |
| EVX-900R | Media Converter, Indoor, Transmitter-Receiver, 1x RJ45, 1x RJ-11, 12V, up to1000m |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAM-5SG1008MMA | Gigabit Switch, Managed, 240W, 8x PoE, 4x SFP, 1000Mbps, Industrial Design, -40°C~+75°C |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |
| IAR-7SG1008MMA | Gigabit Switch, Managed, 135W, 8x PoE, 2x SFP, 2xRJ45, 10/100/1000 Mbps, 19", 1 U |
| IAR-7SG1016MMA | Gigabit Switch, Managed, 270W, 16x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| IAR-7SG1024MMA | Gigabit Switch, Managed, 390W, 24x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| IPB-72A0010M0A | 1/3" Network Camera, WDR, 1920x1080, Day&Night, AF Zoom, 5.1-51mm, Infrared, IP67 |
| PM-42A | Pole mount adaptor for eneo Candid, Candid S, Candid M, WB1, AK-5, AK-4 |
| VerticalView Adaptor | For IP Candid Medium Series using the VerticalView mode Mode |
| VT-PS12DC-11 | Stecker Netzgerät, 100-240VAC/12VDC (1,0A), stabilisiert, mit Hohlstecker |

Recommendations

| CON-KAM-IPKON | IP preconfiguration network Camera, functional test, Firmware update |
| --- | --- |
| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| MicroSDHC Extreme 32GB | MicroSDHC Speicherkarte, 32GB, UHS-I, Class 10, V30, 60MB/s Schreiben, 100MB/s Lesen |
| MicroSDHC Extreme 32GB | MicroSDHC Speicherkarte, 32GB, V30 Class, 90MB/s, UHS-I |
| MicroSDHC Extreme Pro 32GB | MicroSDHC Speicherkarte, 32GB U3 Class, 95MB/s, UHS-I |
| MicroSDXC Extreme 128GB | MicroSDXC Speicherkarte, 128GB UHS-I, Class 10, V30, 90MB/s Schreiben, 100MB/s Lesen |
| MicroSDXC Extreme 128GB | MicroSDXC Speicherkarte 128GB, UHS-I, Class 10, V30, 90MB/s Schreiben, 100MB/s Lesen |
| MicroSDXC Extreme 128GB | MicroSDXC Speicherkarte, 128GB U3 Class, 90MB/s, UHS-I |
| MicroSDXC Extreme 64GB | MicroSDXC Speicherkarte, 64GB, V30 Class, 90MB/s, UHS-I |
| MicroSDXC Extreme 64GB | MicroSDXC Speicherkarte, 64GB UHS-I, Class 10, V30, 60MB/s Schreiben, 100MB/s Lesen |
| MicroSDXC Extreme Pro 64GB | MicroSDXC Speicherkarte, 64GB U3 Class, 95MB/s, UHS-I |
| SanDisk High Endurance 32GB | MicroSDHC Speicherkarte, 32GB, Class 10, 20MB/s, für Videoüberwachung optimiert |
| SanDisk High Endurance 64GB | MicroSDXC Speicherkarte, 64GB Class 10, 20MB/s, Videoüberwachung optimiert |
| SC-IPM07HD | Test Monitor, Multiformat, for installation, IP, HD-TVI/CVI, HD-AHD, HD-SDI, CVBS, HDMI |
| WDD032G1P0A | MicroSDHC Speicherkarte, 32GB, Class 10, UHS Class 1, 50MB/s, für Videoüberwachung |
| WDD064G1P0A | MicroSDXC Speicherkarte, 64GB, Class 10, UHS Class 1, 50MB/s, für Videoüberwachung |

Services