Specifications text

Article number

216816

Type

NXP-880F21

Short description

1/2.9" Network Board Camera, 1920x1080, Day&Night, 2.1mm, D-WDR, PoE, 12V

Main Features

1/2.9" 2.0 MP Progressive Scan CMOS sensor

Resolution max. 1920x1080 (Full HD)

Board Camera 42x42x46 mm

Quad streaming (H.264, MJPEG)

True Day&Night (TDN)

Noise Reduction (2D-/3D-DNR)

VerticalView Mode (only H.264)

Slot for Micro SD memory card

ONVIF conformance, PoE IEEE802.af

Cross Web-Browsing

Privacy zones, password protection

Framerate increase on motion detection

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 216816 |

Additional Productinformation

Related products

| eneo Site Manager | Management Software for eneo IP products |
| --- | --- |

Recommendations

| SanDisk High Endurance 32GB | MicroSDHC Speicherkarte, 32GB, Class 10, 20MB/s, für Videoüberwachung optimiert |
| --- | --- |
| WDD032G1P0A | MicroSDHC Speicherkarte, 32GB, Class 10, UHS Class 1, 50MB/s, für Videoüberwachung |

Services