Specifications text

Article number

74135

Type

EDC-IPC-2/24V

Short description

Pendant Mount Indoor Dome Housing with Clear Bubble 6.5", 24VAC

Main Features

Indoor housing for Fastrax I - III dome cameras

Clear bubble 6.5" (165mm)

Prepared for wall and ceiling mounting

Heater & blower kit included

Supply voltage: 24VAC/50-60Hz

Protection rating: IP66

Option: Wall and ceiling mount brackets, power box

Option: Connection cable #74143 & #74144

Other Features (Specifications)

| Housing | Indoor |
| --- | --- |
| Color (housing) | Pantone Cool Gray 1C |
| Color (bubble) | clear |
| Hosuing material | Aluminium |
| Heater | yes |
| Mounting | Wall or ceiling pendant mount |
| Power consumption | approx. 75W for heater, blower and incl. dome camera |
| Operating temperature | -45°C ~ +50°C |
| Protection rating | IP66 |
| Weight | 2.8kg |
| Manufacturer order number | 74135 |
| Brand | eneo |

Additional Productinformation

Related products

| EDC-AKS1 | Power&Connection Box with Mounting Bracket for In/Outdoor, 230V-24VAC/3.0A |
| --- | --- |
| EDC-WMB1-W | Wall Mount for PTZ Dome Cameras, white, with Mounting Kit |

Recommendations

Services