Specifications text

Article number

74136

Type

EDC-OPS-2/24V

Short description

Pendant Mount Outdoor Dome Housing with Sunshield, Tinted Bubble 6.5", 24VAC

Main Features

Outdoor housing for Fastrax I - III dome cameras

Tinted bubble 6.5" (165mm)

Prepared for wall and ceiling mounting

Sunshield, heater and blower kit included

Supply voltage: 24VAC/50-60Hz

Protection rating: IP66

Option: Wall and ceiling mount brackets, power box

Option: Connection cable #74143 & #74144

Other Features (Specifications)

| Color (dome) | tinted |
| --- | --- |
| Housing type | Outside |
| Housing material | Aluminium |
| Heating | Yes |
| Fan | No |
| Manufacturer order number | 74136 |
| Protection | IP66 |
| Wiper | No |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services