Specifications text

Article number

219808

Type

IED-64M2812MAA

Short description

1/3" Network Dome, Fixed, 2592x1520, Day&Night, WDR, 2,7-12mm, Infrared, IP66

Main Features

1/3" OmniVision CMOS

Resolution max. 2592x1520, 25fps frame rate

Motorised varifocal lens 2,7~12mm with P-Iris

Intelligent self learning video analysis (IntelliVision inside)

Wide Dynamic Range, T-WDR (120dB)

Quad Streaming: H.264, H.265 x3, MJPEG x1, Smart Codec ROI Hi-Stream

Micro SD Card (SDHC, SDXC)

1 x Alarm in and output as well as audio support

Infrared illumination up to 30m

Easy installation, IP66

PoE IEEE 802.3af Class 0, 12VDC

Supports ONVIF Profile S und Profile T

Other Features (Specifications)

| Observe (62 px/m) | 22 - 75 m |
| --- | --- |
| Recognize (125 px/m) | 11 - 36 m |
| Identify (250 px/m) | 6 - 18 m |
| Detect (25px/m) | 58 - 180 m |
| Manufacturer order number | 219808 |
| Brand | eneo |

Additional Productinformation

Related products

| AK-8B | Camera junction box, Wall and Ceiling mounting |
| --- | --- |
| AK-9B | Camera junction box for DH-6, Dome-WB4 |
| AKM-1 | Connection box with bracket outdoor, Fixed and PTZ Dome cameras, IP66 |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IED-FMH1 | Ceiling mount adapter with white cover for fix dome cameras, SN-series |

Recommendations

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |

Services

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |