Specifications text

Article number

217364

Type

IED-54F0036MBA

Short description

1/3" Network Dome, Day&Night, 2592x1520, H.265, Infrared, 3.6mm, PoE, IP66

Main Features

1/3" Omnivision CMOS sensor

Fixed 3.6mm, Day&Night lens

Resolution max. 2592x1520

Compression H.265/H.264/MJPEG

Cross-web-browsing

ROI (Region of interest)Hi-Stream to reduce the bandwidth

Tampering, Defog

D-WDR (Digital Wide Dynamic Range)

Framerate increase on motion detection

Compact design, Outdoor applications, IP66

Other Features (Specifications)

| Manufacturer order number | 217364 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| AK-8 | Camera junction box, Wall and Ceiling mounting |
| --- | --- |
| AK-9 | Camera junction box for DH-6, Dome-WB4 |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAM-5SG1008MMA | Gigabit Switch, Managed, 240W, 8x PoE, 4x SFP, 1000Mbps, Industrial Design, -40°C~+75°C |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |
| IAR-7SG1008MMA | Gigabit Switch, Managed, 135W, 8x PoE, 2x SFP, 2xRJ45, 10/100/1000 Mbps, 19", 1 U |
| IAR-7SG1016MMA | Gigabit Switch, Managed, 270W, 16x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| IAR-7SG1024MMA | Gigabit Switch, Managed, 390W, 24x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| VT-PS12DC-10 | Plugable AC/DC Adapter 100-240V/12VDC- 2.5A, stab., Cont. & UK Mains plug-ins |

Recommendations

| CON-KAM-IPKON | IP preconfiguration network Camera, functional test, Firmware update |
| --- | --- |
| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |

Services