Specifications text

Article number

220202

Type

IPP-83A0036MIA

Short description

1/2,8" Network Dome, PTZ, Day&Night, 36x, H.265, WDR, 2048x1536, Infrared, IP66

Main Features

1/2.8" Sony STARVIS CMOS-Sensor

3.0MP 2048x1536 Pixel, 25/30fps

36x AF Zoom, 4,6~165,6mm

Quad Stream H.265, H.264, MJPEG (Smart Codec)

Real time WDR (Wide Dynamic Range) 25/30fps

Intelligent self learning video analysis

Digital Noise Reduction (2DNR/3DNR)

Audio support including audio alarm

Infrared illumination up to 200m

Alarm in- and outputs, micro SD-card

Power supply 12VDC or UPoE (High-PoE Midspan included)

Support ONVIF Profile S und Profile T

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Observe (62 px/m) | 30 - 980 m |
| Recognize (125 px/m) | 15 - 409 m |
| Identify (250 px/m) | 7 - 245 m |
| Detect (25px/m) | 80 - 2400 m |
| Manufacturer order number | 220202 |

Additional Productinformation

Related products

| AKM-1 | Connection box with bracket outdoor, Fixed and PTZ Dome cameras, IP66 |
| --- | --- |
| EDC-CMA2-W | Corner Mount Adapter white for EDC-WMB1-W |
| EDC-CMT1-W | Ceiling Mount Tube, white, with Flange for PTZ Dome Cameras, with Mounting Kit |
| EDC-PM7-W | Pole Mount Adapter for EDC-WMB1-W, white |
| EDC-WMB1-W | Wall Mount for PTZ Dome Cameras, white, with Mounting Kit |
| eneo Site Manager | Management Software for eneo IP products |

Recommendations

| WDD064G1P0C | MicroSDXC Speicherkarte, 64GB, Class 10, UHS-I U1, 32TBW, für Videoüberwachung |
| --- | --- |

Services

| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| --- | --- |
| LACKIERUNG PTZ oder Panoramakamera | Extra charge for special paint PTZ dome or panoramic camera in RAL color |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |