Specifications text

Article number

219379

Type

IAM-5SE1004MUB

Short description

Switch, unmanaged, 120W, 4xPoE 1x RJ45,  1x SFP 100Mbps, Industrial Design, -40°C~+75°C

Main Features

Ethernet PoE Switch, DIN Rail

Uplink ports 1xRJ45, 1xSFP

4x 10/100 PoE Ports,IEEE 802.3af/at

Up to 30W per port

Surge protection  IEC61000-4-5 (6KV)

Status LED: Uplink, PoE, Optical port, Power

CCTV mode allows transmission up to 250m @ 10Mbps

Temperature range -40° C ~ +75° C

Other Features (Specifications)

| Manufacturer order number | 219379 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| SFP-0850MM10 | SFP Modul, 155Mbps , 2km, Multimode, 850nm, Duplex LC Connector, 0°~+70°C |
| --- | --- |

Recommendations

Services