Specifications text

Article number

219379

Type

IAM-5SE1004MUB

Short description

Switch, unmanaged, 120W, 4xPoE 1x RJ45,  1x SFP 100Mbps, Industrial Design, -40°C~+75°C

Main Features

Other Features (Specifications)

| Brand | eneo |
| --- | --- |

Additional Productinformation

Related products

| SFP-0850MM10 | SFP Modul, 155Mbps , 2km, Multimode, 850nm, Duplex LC Connector, 0°~+70°C |
| --- | --- |

Recommendations

Services