Specifications text

Article number

202662

Type

ER16500U

Short description

Ethernet, PoE Extender, UTP, 16 Ports, Gigibit, PoE+, Extension of 600m

Main Features

16 port network extender, Gigabit PoE Switch

Supports IEEE802.3af (15.4w), IEEE802.3at (25.5w)

Includes a built-in power source for all connected devices

Remote access and IP transmission up to 600m

Supports 10/100 and PoE over UTP

Rack mounted

Supports any network device, including IP cameras

Supports megapixel cameras

LED signal and status indicators

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Type | Layer2 switch, PoE extender |
| Ports | 16x 10/100Base-TX |
| Gigabit | yes |
| Output power | 15,4W, 25.5W |
| Extension | 600 m |
| PoE output | IEEE802.3af, IEEE802.3at |
| Operating temperature | 0°C ~ +37°C |
| Manufacturer order number | ER16500U |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services