Specifications text

Article number

202661

Type

ER8500U

Short description

Ethernet, PoE Extender, UTP, 8 Ports, Gigibit, PoE+, Extension of 600m

Main Features

8 port Ethernet/PoE extender, Gigabit PoE switch

Supports IEEE802.3af (15.4w), IEEE802.3at (25.5w)

Includes a built-in power source for all connected devices

Remote access and IP transmission up to 600m

Rack mounted

Supports 10/100 and PoE over UTP

Support any network device, including IP cameras

Supports megapixel cameras

LED signal and status indicators

Other Features (Specifications)

| Cisco Legacy | No |
| --- | --- |
| Extension | 600 m |
| Type | Layer2 Switch, PoE Extender |
| Gigabit Support | Yes |
| Manufacturer order number | ER8500U |
| PoE Detection | No |
| PoE Standard | IEEE802.3af, IEEE802.3at |
| Rack installation | No |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services