Specifications text

Article number

211265

Type

EL4500U

Short description

Ethernet, PoE Extender, UTP, 4x100BaseT, RX/TX Set

Main Features

Other Features (Specifications)

| Output power | 50 W |
| --- | --- |
| Cisco Legacy | No |
| Power input | 50 W |
| Extension | 600 m |
| Type | PoE Extender |
| Gigabit Support | No |
| Manufacturer order number | EL4500U |
| PoE Detection | No |
| PoE Standard | IEEE802.3af, IEEE802.3at |
| Ports | 4 |
| Rack installation | No |
| Series | PoE Extender |
| Temperature Range (Operating) | -40°C ~ +75°C |
| Certifications | NEMA TS-2 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services