Specifications text

Article number

218800

Type

SC-IPC3001E

Short description

Media Converter Set, 1 Channel Ethernet over Coax Transmitter Receiver, PoE 1,8km

Main Features

Other Features (Specifications)

| Design | Mini module |
| --- | --- |
| Multicast | No |
| Type | Media converter |
| Fan | No |
| Management | No |
| Mounting type | Wall |
| Manufacturer order number | SC-IPC3001E |
| Ports | 1 |
| Rack installation | No |
| Reach | 1,800 km |
| Power supply | 48-56VDC |
| Temperature Range (Operating) | -10°C ~ +50°C |
| VLAN | No |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services