Specifications text

Article number

218800

Type

SeeEyes SC-IPC3001E

Short description

Media Converter Set, 1 Channel Ethernet over Coax Transmitter Receiver, PoE 1,8km

Main Features

1-Channel Ethernet over Coax Transmission

Transmitter and Receiver Set

Bandwidth: 200 Mbps

Transmission Distance: 1,800 m via RG-6

Button for automatic pairing

Transmitter supports PoE output for camera

48 VDC power supply included

Other Features (Specifications)

| General |  |
| --- | --- |
| Design | Mini module |
| Type | Media converter |
| Mounting type | Wall |
| Reach | 1,800 km |
| Power supply | 48-56VDC |
| Temperature Range (Operating) | -10°C ~ +50°C |
| Interfaces / Inputs/ Outputs |  |
| Ports | 1 |
| Product labeling: |  |
| Manufacturer order number | SC-IPC3001E |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services