Specifications text

Article number

205485

Type

ER8400C

Short description

Ethernet, PoE Extender, Coax, 8 Ports, Gigabit, PoE+, Wall Mounting, Extension of 500m

Main Features

Transmits IP data & PoE up to distances of 500 metres

Rack mounted 8 channel Etherstretch solution

Supports IEEE802.3af, IEEE802.3at

Includes a built-in power source for all devices

Gigabit output network connectivity

Supports 10/100 and PoE over coax cable

Short circuit, over current, over voltage protection

Supports mega-pixel technology

Supports any network device, including IP cameras

Easy to install, no set up required

No MAC or IP addressing required

Variable power input. 100-240VAC

Other Features (Specifications)

| Output power | 320 W |
| --- | --- |
| Cisco Legacy | No |
| Power input | 320 W |
| Extension | 500 m |
| Type | Layer2 Switch, PoE Extender |
| Gigabit Support | Yes |
| Mounting type | Wall |
| Manufacturer order number | ER8400C |
| PoE Detection | No |
| PoE Standard | PoE (IEEE802.3af), PoE+ (IEEE802.3at) |
| Ports | RJ-45 |
| Rack installation | No |
| Temperature Range (Operating) | 0°C ~ +50°C |
| Certifications | UL |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services