Specifications text

Article number

205485

Type

ER8400C

Short description

Ethernet, PoE Extender, Coax, 8 Ports, Gigabit, PoE+, Wall Mounting, Extension of 500m

Main Features

Transmits IP data & PoE up to distances of 500 metres

Rack mounted 8 channel Etherstretch solution

Supports IEEE802.3af, IEEE802.3at

Includes a built-in power source for all devices

Gigabit output network connectivity

Supports 10/100 and PoE over coax cable

Short circuit, over current, over voltage protection

Supports mega-pixel technology

Supports any network device, including IP cameras

Easy to install, no set up required

No MAC or IP addressing required

Variable power input. 100-240VAC

Other Features (Specifications)

| Type | Layer2 switch, PoE extender |
| --- | --- |
| Mounting | wall mount |
| Blower | no |
| Ethernet interface | 100Base-TX, 10Base-T |
| Ports | 8x 10/100Base-TX, RJ-45 |
| PoE ports (number) | 8 |
| Gigabit | yes |
| Output power | 204W |
| Input power | 320W |
| Extension | 500 m |
| Model | housing |
| Range | 500 m |
| Supply voltage | 110-240VAC |
| Power consumption | 320W |
| Power over Ethernet | IEEE 802.3at |
| PoE budget | 204 W |
| PoE output | PoE (IEEE802.3af), PoE+ (IEEE802.3at) |
| Operating temperature | 0°C ~ +50°C |
| Certifications | UL |
| Protection rating | n/a |
| Manufacturer order number | ER8400C |
| Brand | Nitek |

Additional Productinformation

Related products

| ET1500C | Ethernet, PoE Extender, Coax, for Etherstretch Switches, 1 Port, Extension of 500m |
| --- | --- |

Recommendations

Services