Specifications text

Article number

216315

Type

ER24200C

Short description

24-channel Etherstretch Lyte, Receiver, Rackmount

Main Features

Ethernet and PoE extender

Extension by 500 meters via coax

Supports any network device, including IP cameras

Supports megapixel cameras

Fully transparent to the network

Supports 10/100 and PoE over coax

LED signal and status indicators

Easy to install

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Type | Empfänger |
| Series | Etherstretch Lyte |
| Mounting | 19" rack |
| Transmission medium | Coax |
| Ports | 24 |
| Model | 19" Rack |
| Range | 350 m |
| Supply voltage | 110-240VAC |
| Operating temperature | 0°C ~ +52°C |
| Manufacturer order number | ER24200C |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services