Specifications text

Article number

216314

Type

ER16200C

Short description

16-channel Etherstretch Lyte, Receiver, Rackmount

Main Features

Ethernet and PoE extender

Extension by 500 meters via coax

Supports any network device, including IP cameras

Supports megapixel cameras

Fully transparent to the network

Supports 10/100 and PoE over coax

LED signal and status indicators

Easy to install

Other Features (Specifications)

| Type | Empfänger |
| --- | --- |
| Series | Etherstretch Lyte |
| Mounting | 19" rack |
| Transmission medium | Coax |
| Ports | 16 |
| Model | 19" Rack |
| Range | 350 m |
| Supply voltage | 110-240VAC |
| Operating temperature | 0°C ~ +52°C |
| Manufacturer order number | ER16200C |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services