Specifications text

Article number

220297

Type

MM-1000

Short description

Fiber Media Converter, 10/100/1000 Multi-Mode, SC Fiber, SC

Main Features

10/100/1000 (Gigabit Ethernet) RJ45-Netzwerkanschluss

1000BASE-LX SC Duplex-Multimode-Port

10/100/1000 Ethernet bis zu 2 km über Multi-Mode-Glasfaser

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Type | housing |
| Series | Medienkonverter |
| Mounting | ceiling mount, desktop, wall mount |
| Fiber optic connector | SC |
| Transmission medium | optical fiber |
| Ports | RJ-45 |
| Model | housing |
| Number of fibers | 2 |
| Wavelength | 1310nm |
| Range | 2 km |
| Supply voltage | 12VDC |
| Operating temperature | 0°C ~ +50°C |
| Operation mode | multi mode |
| Manufacturer order number | MM-1000 |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services