Specifications text

Article number

220298

Type

MS-1000

Short description

Fiber Media Converter, 10/100/1000 Single-Mode, SC Fiber, SC

Main Features

10/100/1000 (Gigabit Ethernet) RJ45-Netzwerkanschluss

100BASE-LX SC Duplex-Single Mode-Anschluss

10/100/1000 Ethernet bis zu 20 km über Single-Mode-Glasfaser

Other Features (Specifications)

| Type | housing |
| --- | --- |
| Series | Medienkonverter |
| Mounting | ceiling mount, desktop, wall mount |
| Fiber optic connector | SC |
| Transmission medium | optical fiber |
| Ports | RJ-45 |
| Model | housing |
| Number of fibers | 2 |
| Wavelength | 1310nm |
| Range | 20 km |
| Supply voltage | 12VDC |
| Operating temperature | 0°C ~ +50°C |
| Operation mode | single mode |
| Manufacturer order number | MS-1000 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services