Specifications text

Article number

209016

Type

EL1551UW

Short description

Ethernet Extender, up to 300m, UTP, 1x100BaseT, RX/TX Set, Outdoor

Main Features

Übertragung bis zu 300m über Zweidraht

Unterstützt jedes Netzwerk-Gerät, inkl. IP-Kameras

Unterstützt Megapixel-Kameras

Für Außeneinsatz geeignet

Vollständig transparent im Netzwerk

Einfache Installation, kein Setup notwendig

Keine MAC- oder IP-Adressierung erforderlich

Optionales Netzgerät für Switches ohne PoE

Other Features (Specifications)

| Type | Sender/Empfänger |
| --- | --- |
| Series | Ethernet Extender, PoE Extender |
| Mounting | ceiling mount, desktop, wall mount |
| Transmission medium | UTP |
| Ports | 1x 10/100Base-TX, 1x UTP |
| PoE ports (number) | 1 |
| Model | housing |
| Wavelength | n/a |
| Range | 460 m |
| Supply voltage | 48~57 VDC, PoE |
| PoE budget | 25,5 W |
| Operating temperature | -40°C ~ +75°C |
| Certifications | IEC/UL 60950-1, NEMA TS-2 |
| Protection rating | IP65 |
| Operation mode | n/a |
| Manufacturer order number | EL1551UW |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services